## Worksheet
REGION: | National Capital Region
COMPONENT | CRITERIA | YES | NO | REMARKS | IMAGE
Control Panel | <p class="15" style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">The following components/parts are working properly:</span></p><ul><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Main power/ Breaker switch</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Emergency stop button</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Vacuum pump selector</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Heater selector switch</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Refrigeration system selector</span></li></ul> |  | ✓ | main power not working
| <p class="15" style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Indicator lights of the following are functional and not busted once turned “ON”:</span></p><p class="15" style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Indicator lights of the following are functional and not busted once turned "ON":</span></p><ul><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Main power/breaker switch</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Vacuum pump</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Heaters</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Refrigeration system</span></li></ul> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Refrigeration monitor displays current temperature. Set value can be modified and once turned "ON", temperature reading decreases in less than 1 minute.</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Digital thermo-controller displays current temperature. Heating set value can be modified and once heating system is turned "ON" at a set value higher than the current reading, temperature should rise in less than 5 minutes.</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Pirani Gauge monitor display is working properly. Pressure value should decrease under closed system once vacuum pump is turned "ON".</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Sight glass has no cracks or signs of breakage</span><br></p> | ✓
| <p class="15" style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">The following components/parts are working properly:</span></p><ul><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Main power/ Breaker switch</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Emergency stop button</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Vacuum pump selector</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Heater selector switch</span></li><li style="margin-top: 8pt; margin-right: 29.15pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt; text-indent: -18pt;">Refrigeration system selector</span></li></ul> | ✓
| <p class="15" style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Indicator lights of the following are functional and not busted once turned “ON”:</span></p><p class="15" style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Indicator lights of the following are functional and not busted once turned "ON":</span></p><ul><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Main power/breaker switch</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Vacuum pump</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Heaters</span></li><li style="margin-top: 10.55pt; margin-right: 19.35pt; margin-left: 5.4pt; line-height: 1;"><span style="font-family: Arial; font-size: 11pt;">Refrigeration system</span></li></ul> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Refrigeration monitor displays current temperature. Set value can be modified and once turned "ON", temperature reading decreases in less than 1 minute.</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Digital thermo-controller displays current temperature. Heating set value can be modified and once heating system is turned "ON" at a set value higher than the current reading, temperature should rise in less than 5 minutes.</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Pirani Gauge monitor display is working properly. Pressure value should decrease under closed system once vacuum pump is turned "ON".</span><br></p> | ✓
| <p><span style="font-family: Arial; font-size: 14.6667px;">Sight glass has no cracks or signs of breakage</span><br></p> | ✓
Ice Condensing Chamber Assembly | <p>Vacuum pump is running smoothly, no unusual, metal or cranking noise.<br></p> | ✓
| <p>Oil mist trap is working properly (no excessive release of oil mist/smoke)<br></p> | ✓
| <p>Condensing chamber has no leaks<br></p> | ✓
| <p>There is enough vacuum pump oil (at least an inch above the minimum marking)<br></p> | ✓
| <p>Connection Pipe has no leaks<br></p> | ✓
| <p>Vacuum pump is running smoothly, no unusual, metal or cranking noise.<br></p> | ✓
| <p>Oil mist trap is working properly (no excessive release of oil mist/smoke)<br></p> | ✓
| <p>Condensing chamber has no leaks<br></p> | ✓
| <p>There is enough vacuum pump oil (at least an inch above the minimum marking)<br></p> | ✓
| <p>Connection Pipe has no leaks<br></p> | ✓
Vacuum Drying Chamber | <p class="15" style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;"><font face="Arial"><span style="font-size: 14.6667px;">No observed leaks when chamber is closed and under vacuum on the following:</span></font></p><ul><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;"><span style="font-size: 14.6667px; font-family: Arial;">Lid cover</span></li><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;">Pressure relief valve and</li><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;">Connection pipe</li></ul> | ✓
| <p>Cover lid seal/O-ring is in good condition. Not loose, no signs of cracks and in good fit when lid cover is closed.<br></p> | ✓
| <p>Thermocouple is properly attached or in proper contact with the bottom tray<br></p> | ✓
| <p>Heating coils/wires are properly connected with the heating tray support<br></p> | ✓
| <p>Sight glass has no cracks or signs of breakage.<br></p> | ✓
| <p>Pirani Gauge is functional<br></p> | ✓
| <p>Set of trays are complete (1st batch – 4pcs;&nbsp; 2nd batch – 5 pcs)<br></p> | ✓
| <p class="15" style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;"><font face="Arial"><span style="font-size: 14.6667px;">No observed leaks when chamber is closed and under vacuum on the following:</span></font></p><ul><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;"><span style="font-size: 14.6667px; font-family: Arial;">Lid cover</span></li><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;">Pressure relief valve and</li><li style="margin-top: 6.6pt; margin-right: 26.1pt; margin-left: 5.4pt; line-height: 1;">Connection pipe</li></ul> | ✓
| <p>Cover lid seal/O-ring is in good condition. Not loose, no signs of cracks and in good fit when lid cover is closed.<br></p> | ✓
| <p>Thermocouple is properly attached or in proper contact with the bottom tray<br></p> | ✓
| <p>Heating coils/wires are properly connected with the heating tray support<br></p> | ✓
| <p>Sight glass has no cracks or signs of breakage.<br></p> | ✓
| <p>Pirani Gauge is functional<br></p> | ✓
| <p>Set of trays are complete (1st batch – 4pcs;&nbsp; 2nd batch – 5 pcs)<br></p> | ✓